## TUG1
Tomada	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	CORRENTE CORRIGIDA (A)	QUEDA (%)	FIO (mm²)	CIRCUITO
TUG-01 – Laboratorio	127	150	2	1,18	1,48	0,05	1,5	OK
TUG-02 – Geladeira	127	150	4	1,18	1,48	0,11	1,5	OK
TUG-03 – Ventilador	127	150	8	1,18	1,48	0,22	1,5	OK
TUG-04 – Ventilador Dorm	127	150	10	1,18	1,48	0,27	1,5	OK
TUG-05 – Climatizador	127	150	20	1,18	1,48	0,54	1,5	OK
TUG-06 – Cama	127	150	30	1,18	1,48	0,81	1,5	OK
TUG-07	127		40	0,00	0,00	0,00	1,5	OK
TUG-08	127		50	0,00	0,00	0,00	1,5	OK
TOTAL		900		8,86	11,07	0,81	1,5	OK

Phase/neutral wire (mm²)	1,5
Conduit (mm)	20
Breaker (A)	16

## TUG2
Tomada	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	CORRENTE CORRIGIDA (A)	QUEDA (%)	FIO (mm²)	CIRCUITO
TUG-01	127		2	0,00	0,00	0,00	1,5	OK
TUG-02	127		4	0,00	0,00	0,00	1,5	OK
TUG-03	127		8	0,00	0,00	0,00	1,5	OK
TUG-04	127		10	0,00	0,00	0,00	1,5	OK
TUG-05	127		20	0,00	0,00	0,00	1,5	OK
TUG-06	127		30	0,00	0,00	0,00	1,5	OK
TUG-07	127		40	0,00	0,00	0,00	1,5	OK
TUG-08	127		50	0,00	0,00	0,00	1,5	OK
TOTAL		0		0,00	0,00	0,00	1,5	OK

Phase/neutral wire (mm²)	1,5
Conduit (mm)	20
Breaker (A)	16

## TUG3
Tomada	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	CORRENTE CORRIGIDA (A)	QUEDA (%)	FIO (mm²)	CIRCUITO
TUG-01	127		2	0,00	0,00	0,00	1,5	OK
TUG-02	127		4	0,00	0,00	0,00	1,5	OK
TUG-03	127		8	0,00	0,00	0,00	1,5	OK
TUG-04	127		10	0,00	0,00	0,00	1,5	OK
TUG-05	127		20	0,00	0,00	0,00	1,5	OK
TUG-06	127		30	0,00	0,00	0,00	1,5	OK
TUG-07	127		40	0,00	0,00	0,00	1,5	OK
TUG-08	127		50	0,00	0,00	0,00	1,5	OK
TOTAL		0		0,00	0,00	0,00	1,5	OK

Phase/neutral wire (mm²)	1,5
Conduit (mm)	20
Breaker (A)	16

## TUG4
Tomada	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	CORRENTE CORRIGIDA (A)	QUEDA (%)	FIO (mm²)	CIRCUITO
TUG-01	127		2	0,00	0,00	0,00	1,5	OK
TUG-02	127		4	0,00	0,00	0,00	1,5	OK
TUG-03	127		8	0,00	0,00	0,00	1,5	OK
TUG-04	127		10	0,00	0,00	0,00	1,5	OK
TUG-05	127		20	0,00	0,00	0,00	1,5	OK
TUG-06	127		30	0,00	0,00	0,00	1,5	OK
TUG-07	127		40	0,00	0,00	0,00	1,5	OK
TUG-08	127		50	0,00	0,00	0,00	1,5	OK
TOTAL		0		0,00	0,00	0,00	1,5	OK

Phase/neutral wire (mm²)	1,5
Conduit (mm)	20
Breaker (A)	16

## TUG5
Tomada	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	CORRENTE CORRIGIDA (A)	QUEDA (%)	FIO (mm²)	CIRCUITO
TUG-01	127		2	0,00	0,00	0,00	1,5	OK
TUG-02	127		4	0,00	0,00	0,00	1,5	OK
TUG-03	127		8	0,00	0,00	0,00	1,5	OK
TUG-04	127		10	0,00	0,00	0,00	1,5	OK
TUG-05	127		20	0,00	0,00	0,00	1,5	OK
TUG-06	127		30	0,00	0,00	0,00	1,5	OK
TUG-07	127		40	0,00	0,00	0,00	1,5	OK
TUG-08	127		50	0,00	0,00	0,00	1,5	OK
TOTAL		0		0,00	0,00	0,00	1,5	OK

Phase/neutral wire (mm²)	1,5
Conduit (mm)	20
Breaker (A)	16

## TUE1
Equipamento	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	CORRENTE CORRIGIDA (A)	QUEDA (%)	FIO (mm²)	STATUS CIRCUITO
TUE-01 – Fogão	127	1200	20	9,45	15,75	3,47	2,5	CIRCUITO EXCLUSIVO
TUE-02	127		10	0,00	0,00	0,00	1,5	OK
TUE-03	127		20	0,00	0,00	0,00	1,5	OK
TUE-04	127		30	0,00	0,00	0,00	1,5	OK
TOTAL			1200	9,45	15,75	3,47	2,5	CIRCUITO EXCLUSIVO

Phase/neutral wire (mm²)	2,5
Conduit (mm)	20
Breaker (A)	16

## TUE2
Equipamento	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	CORRENTE CORRIGIDA (A)	QUEDA (%)	FIO (mm²)	STATUS CIRCUITO
TUE-01 – Microondas	127	2000	20	15,75	26,25	3,62	4	CIRCUITO EXCLUSIVO
TUE-02	127		10	0,00	0,00	0,00	1,5	OK
TUE-03	127		20	0,00	0,00	0,00	1,5	OK
TUE-04	127		30	0,00	0,00	0,00	1,5	OK
TOTAL			2000	15,75	26,25	3,62	4	CIRCUITO EXCLUSIVO

Phase/neutral wire (mm²)	4
Conduit (mm)	25
Breaker (A)	32

## TUE3
Equipamento	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	CORRENTE CORRIGIDA (A)	QUEDA (%)	FIO (mm²)	STATUS CIRCUITO
TUE-01 – Impressora 3D	127	2000	20	15,75	26,25	3,62	4	CIRCUITO EXCLUSIVO
TUE-02	127		10	0,00	0,00	0,00	1,5	OK
TUE-03	127		20	0,00	0,00	0,00	1,5	OK
TUE-04	127		30	0,00	0,00	0,00	1,5	OK
TOTAL			2000	15,75	26,25	3,62	4	CIRCUITO EXCLUSIVO

Phase/neutral wire (mm²)	4
Conduit (mm)	25
Breaker (A)	32

## TUE4
Equipamento	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	CORRENTE CORRIGIDA (A)	QUEDA (%)	FIO (mm²)	STATUS CIRCUITO
TUE-01 – Chuveiro	127	4400	20	34,65	57,74	1,99	16	CIRCUITO EXCLUSIVO
TUE-02	127		10	0,00	0,00	0,00	1,5	OK
TUE-03	127		20	0,00	0,00	0,00	1,5	OK
TUE-04	127		30	0,00	0,00	0,00	1,5	OK
TOTAL			4400	34,65	57,74	1,99	16	CIRCUITO EXCLUSIVO

Phase/neutral wire (mm²)	16
Conduit (mm)	40
Breaker (A)	50

## TUE5
Equipamento	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	CORRENTE CORRIGIDA (A)	QUEDA (%)	FIO (mm²)	STATUS CIRCUITO
TUE-01	127		20	0,00	0,00	0,00	1,5	OK
TUE-02	127		10	0,00	0,00	0,00	1,5	OK
TUE-03	127		20	0,00	0,00	0,00	1,5	OK
TUE-04	127		30	0,00	0,00	0,00	1,5	OK
TOTAL			0	0,00	0,00	0,00	1,5	OK

Phase/neutral wire (mm²)	1,5
Conduit (mm)	20
Breaker (A)	16

## LUZ1
Ponto	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	QUEDA (%)	FIO (mm²)	STATUS CIRCUITO
IL-01 – Corredor externo	127	20	20	0,16	0,00	1,5	OK
IL-02 – Varanda	127	20	20	0,16	0,00	1,5	OK
IL-03 – Cozinha	127	20	20	0,16	0,00	1,5	OK
IL-04 – Hall	127	20	20	0,16	0,00	1,5	OK
IL-05 – Banheiro	127	20	20	0,16	0,00	1,5	OK
IL-06 – Dormitorio	127	20	20	0,16	0,00	1,5	OK
IL-07	127		20	0,00	0,00	1,5
IL-08	127		20	0,00	0,00	1,5
IL-09	127		20	0,00	0,00	1,5
IL-10	127		20	0,00	0,00	1,5
IL-11	127		20	0,00	0,00	1,5
IL-12	127		20	0,00	0,00	1,5
IL-13	127		20	0,00	0,00	1,5
IL-14	127		20	0,00	0,00	1,5
IL-15	127		20	0,00	0,00	1,5
IL-16	127		20	0,00	0,00	1,5
IL-17	127		20	0,00	0,00	1,5
IL-18	127		20	0,00	0,00	1,5
IL-19	127		20	0,00	0,00	1,5
IL-20	127		20	0,00	0,00	1,5
TOTAL			120	0,94	0,00

Phase/neutral wire (mm²)	1,5
Conduit (mm)	20
Breaker (A)	10

## LUZ2
Ponto	TENSAO (V)	POTENCIA (W)	DISTANCIA (m)	CORRENTE (A)	QUEDA (%)	FIO (mm²)	STATUS CIRCUITO
IL-01	127		20	0,00	0,00	1,5
IL-02	127		20	0,00	0,00	1,5
IL-03	127		20	0,00	0,00	1,5
IL-04	127		20	0,00	0,00	1,5
IL-05	127		20	0,00	0,00	1,5
IL-06	127		20	0,00	0,00	1,5
IL-07	127		20	0,00	0,00	1,5
IL-08	127		20	0,00	0,00	1,5
IL-09	127		20	0,00	0,00	1,5
IL-10	127		20	0,00	0,00	1,5
IL-11	127		20	0,00	0,00	1,5
IL-12	127		20	0,00	0,00	1,5
IL-13	127		20	0,00	0,00	1,5
IL-14	127		20	0,00	0,00	1,5
IL-15	127		20	0,00	0,00	1,5
IL-16	127		20	0,00	0,00	1,5
IL-17	127		20	0,00	0,00	1,5
IL-18	127		20	0,00	0,00	1,5
IL-19	127		20	0,00	0,00	1,5
IL-20	127		20	0,00	0,00	1,5
TOTAL			0	0,00	0,00

Phase/neutral wire (mm²)	1,5
Conduit (mm)	20
Breaker (A)	10

## GERAL
Item	Valor / Formula
System voltage (V)	127,00
Number of phases	2,00

Current TUG-1 (A)	8,86
Current TUG-2 (A)	0,00
Current TUG-3 (A)	0,00
Current TUG-4 (A)	0,00
Current TUG-5 (A)	0,00

Current TUE-1 (A)	9,45
Current TUE-2 (A)	15,75
Current TUE-3 (A)	15,75
Current TUE-4 (A)	34,65
Current TUE-5 (A)	0,00

Current LUZ-1 (A)	0,94
Current LUZ-2 (A)	0,00

Total installed current (A)	85,39

Current per phase (A)	42,70

Demand factor	0,7

Demanded current per phase (A)	29,89

Main breaker (A)	63

Main conductor current (A)	29,89

Main conductor current (A)	29,89

Main conductor (mm²)	25

Main conduit (mm)	32

Phase A current installed (A)	8,86
Phase B current installed (A)	0,00